EXAM 3 – DSIT 100

1. Which one of these is NOT considered a protected opening in a fire resistance rated partition per Section 715?
a. Fire door  b. Fire-protection rated glazing  c. Security bars in an opening  d. Wired glass in fire door assembly
2. When employing alternate means and methods to satisfy code requirements they need to meet the same level of what as code requirement:
a. Effectiveness, height, area
b. Quality, strength, durability
c. Safety and Security
d. Standard of care
3. Corridor is considered a portion of:
a. Exit  

b. Exit access
c.     Exit Load  
d. Exit Discharge
4. Fire resistance prevents spread of fire:
a.    From one building to another
b. From one area to another
c. From one floor to another
d. All of the above
5. Gross floor area includes:
a. Floor area within surrounding exterior walls.


b. Actual occupied area not including accessory areas
c.     Floor area that is not included in the net floor area. 

d.  Floor area inside perimeter of exterior walls, excluding shafts
6. Fire barriers are used to:
a. Separate corridor walls  b. Separate buildings into separate structures
    c. Separate vertical exit enclosures
d. Separate tenant spaces
7. Which assembly type use does not have to be included in A occupancy type:
a. Any with less than 50 occupants    b. Any use serving alcohol    c. Any outdoor sport stadium    d. Any inside a business office
8. Exit passageway is a portion of:
a. Exit 

b. Exit Access
c. Exit Load
d. Exit Discharge
9. Adding sprinklers can be used to increase:
a. Building occupant load
b. Only number of stories
c. Building height and number of stories

d. Only building height
10. Protrusions along the path of travel are:
a. Allowed when they do not encroach required egress width
b. Allowed at maximum of 4” when less than 27” high

c.
No protrusions are allowed



d. Allowed at maximum of 4” when more than 27” high
11. Americans with Disabilities Act enforced by current 2010 CBC is which issuance:
a. 2009

b. 2001
c.1991
d. 2010
12. Occupant load is:

a. Maximum number of occupants that will fit within an area

b. Determined based on occupancy type

c. 
Maximum number of occupants client requested to have

d. Number of persons for which the means of egress is designed
13. What is the name of current California Green Building Code:
a. 2010 CalGreen 
b.  2010 LEED
c. 2010 GreenBuild

d. 2010 California Green Building Code
14. Active fire resistance is based on:
a. Fire rating of materials
b. Sprinkler system  
 c. Construction of materials and assemblies 
d. ASTM standard
15. Means of egress fundamental purpose is:

a. To get all occupants out of a building


b. To protect occupants in case of fire


c. 
To provide continuous path through the building

d. To satisfy occupancy type requirements
16. Fire separation distance is NOT measured from:
a. Property (lot) line
b. Centerline of public way
c.  Another building on the same site
d. Half distance to another building on the same site
17. Which of these is CORRECT listing of all occupancy types in Chapter 3:
a. A, B, C, E, F, H, M, R, S, U
  b. A, B, E, F, H, I, L, M, R, S, U      c. A, B, E, F, H, I, M, R, S, U
d. A, B, C, D, E, F, H, I
18. You would NOT consult Chapter 4 for:
a. Two story business building   b. Underground parking garage   c. Shopping mall   d. High rise hospital
19. Common path of egress travel is measured to the point:
a. Where two paths of egress diverge    b. Where exit begins    c.     Where exit discharge begins
d. Where rated enclosure begins
20. Smoke barriers restrict spread of smoke and:
a. Have no fire-resistance rating  b. Have at least 1 hr fire resistance rating  c. Have at least 2 hr fire resistance rating d. Have no combustible parts
