EXAM 4 – DSIT 100

1. Egress width is based on:
a. Total floor area  
b. Occupancy 
 c. Occupant Load 
 d. Building height.
2. Exit signs need to be visible from any direction so the maximum view distance does not exceed:
a. 50’


b. 75’

c. 100’

d. 150’
3. Maximum travel distance from most remote point within story to an exit is:
a. Exit access travel distance
b. Common path of travel
c.     Egress distance  
d. Path of travel
4. Group R occupancies require emergency escape and rescue openings from:
a.    Living rooms
b. Kitchens
c. Sleeping rooms
d. All of the above
5. Aisle is part of:
a. Exit access
b. Exit
c.  Exit discharge
d.  Corridor
6. Area of refuge is not required:
a. In buildings with only one exit
  



b. In buildings where no occupants are incapacitated
   
c.     In buildings with elevators




d. In buildings with sprinkler systems
7. Exit enclosure is part of:
a. Exit 
access    
b. Exit   
 c. Exit discharge
d. Stairway
8. Exit passageway is a portion of:
a. Exit 
access
b. Exit
 c. Exit discharge
d. Corridor
9. Enclosed horizontal component of exit is called:
a. Corridor

b. Horizontal exit

c. Exit passageway

d. Exit court
10. Minimum length of a landing is:
a. 36”


b. 44”


c. 48”


d. 60”
11. Egress door minimum clear width is:
a. 30”


b. 32”

c.36”

d. 44”
12. Net floor area is:

a. Total floor area inside exterior walls

b. Total floor area within exterior walls
c. 
Actual occupied area excluding shafts

d. Actual occupied area excluding unoccupied accessory areas
13. Minimum depth of thread and minimum height of riser are:
a. 11”/4” 

b.  10”/7”

c. 11”/7”

d. 12”/7”
14. Means of egress is:
a. Vertical path through the building


b. Horizontal path through the building  

c.    Continuous and unobstructed path through the building 
d. Primary path of travel through the building
15. Maximum slope of egress ramp is:

a. 1:8


b. 1:10

c. 1:12

d. 1:20
16. Point where two separate and distinct paths of egress to two exits become available is termination of:
a. Aisle


b. Exit access maximum travel distance

c.  Common path of travel

d. Exit access
17. Minimum height of a handrail is:
a. 32”
 

 b. 34”     

 c. 36”

d. 42”
18. Portion of means of egress that has to be separated and protected by fire-resistance rated construction and opening protectives is :
a. Exit access
   b. Exit

 c. Exit Discharge
   d. Corridor
19. Guards are required if there is a drop from a walking surface of at least:
a. 12”    

b. 24”

    c.  30”

d. 36”
20. Means of egress terminates at:
a. Exterior building exit  
b. Exit discharge
c. Exit court
 d. Public way
