EXAM 7 – DSIT 100

1. Where shall accessible seating be located in all assembly spaces:

a.  In variety of locations   
b. In the most inexpensive section
c. Directly adjacent an exit
 d. As close as possible to the stage
2. What is the intent of accessible route:
a.  Allowing persons with disabilities maximum independence in using facilities



b.  Allowing persons with disabilities to access parking and public transportation from the building entrance

c.  Allowing persons with disabilities to enter the building, access facilities, and exit the building

d.  Allowing persons with disabilities to travel along unobstructed route once inside the building
3. What is the full name of current Energy Code in California:
a.    2010 CCR Title 24 Part 6

b. Title 24

c.   2010 CALGreen

d. 2010 CCR Title 24 Part 2
4. Exit passageway is part of which segment of means of egress system:
a.    Corridor

b. Exit

c. Exit discharge

d. Exit access
5. Which of these topics is NOT included in Chapter 12 Interior Environment of 2010 California Building Code:
a. Lighting

b. Sound transmission
c. Temperature control
d.  VOC emissions
6. Which one of these is NOT one of the provisions of Material Conservation and Resource Efficiency section of 2010 CALGreen:
a.     Construction waste diversion
b. Weather protection of materials    c. Recycling by occupants
d. Minimizing VOC emissions
7. Which code actually contains California’s energy efficiency provisions:
a.    2010 CALGreen
b. 2010 California Building Code, Chapter 13
 c. 2010 California Energy Code
d. 2009 LEED CI
8. What is LEED:
a. Model code promoting sustainable building practices    
b. Supplemental California green building certification system

c. US Green Building Standards Code   


d. Internationally recognized independent green building certification system
9. Accessible pedestrian ways shall have continuous common surface not interrupted by changes in level exceeding:
a.   ¼”

b. ½”

c. ¾”

d. 1”
10. Common path of egress travel is:
a.  Portion of exit access occupants are required to transverse before two separate paths to two exits are available

b.  Maximum travel distance from most remote point within a story along unobstructed path of egress to an exit

c.  Point at which two separate and distinct paths to two exits become available

d.  Commonly used path of travel that is part of means of egress
11. Urinals and water closets are required to have smooth, hard, non-absorbent surface 2 feet on each side and how high from the floor:
a.   4 feet

b. 5 feet


c. 6 feet

d.  Full wall height
12. Which one of these is NOT one of the categories of CALGreen:

a.   Planning and Design 

b. Innovation in Design
c. Environmental Quality
d. Water efficiency and conservation
13. What is minimum clear opening size in accessible means of egress:
a.   32” 

b.  36”

c. 44”

d. 48”
14. What is the intent of Environmental Quality section of 2010 CALGreen:
a.    Reducing the quantity of air contaminants and comfort of occupants         b. Increasing the quality of materials used in the environment  

c.    Enhancing the environmental quality of the building site
 
           d. Reducing environmental impact of building occupants
15. What percentage of savings of potable water is mandatory under 2010 CALGreen:

a.   10

b. 20


c. 30


d. 40
16. Provisions of 2010 CALGreen are currently applicable to:
a.    New construction only   b. Tenant improvements only   c.  New construction and initial tenant improvements   d. All Commercial construction
17. Pedestrian ramp is walking surface with running slope exceeding:
a.   1:8 
 b. 1:12     
 c. 1:15

d. 1:20
18. What is commissioning :
a. Process to verify interior VOC emission levels before building occupancy   

b. Process to verify energy-related systems are performing according to project design requirements

 
c. Process to verify building’s overall energy savings in relation to baseline

d. Process to verify contractor installed HVAC equipment per manufacturer’s requirements
19. What is Americans with Disabilities Act:
a.  Part of 2010 California Building Code     b. Model code
   c.  Federal law (not code)    d. Part of 2010 CCR Title 24
20. Describe the intent of CALGreen in your own words:
