IN CLASS EXERCISE – PROBLEM 1
Perform code study and list:

1. Occupancy/occupancies

2. Special conditions/requirements (if any)

3. Type of construction

4. Area and height calculations

5. Occupancy separations (if required)

6. Required building component fire rating
List referenced code section(s) for each item.

Client wants to build an open parking garage on a new site adjoining public way (30’ of frontage available on two sides), using either type 2A or type 2B construction, fully sprinklered, while maximizing square footage (area and number of stories).  What are the maximums he can achieve with each construction type?
