IN CLASS EXERCISE – PROBLEM 3
Perform code study and list:

1. Occupancy/occupancies

2. Special conditions/requirements (if any)

3. Type of construction

4. Area and height calculations

5. Occupancy separations (if required)

6. Required building component fire rating
List referenced code section(s) for each item.

Client owns an existing 4 story, 40,000 SF per story, type IIB construction office building and wants to convert one half of first story to a restaurant and the other half into a store.  The building is fully sprinklered and is adjoining public way with 20’ frontage available on two sides.  Is this possible with same type of construction and what kinds of separation would be required?
