IN CLASS EXERCISE – PROBLEM 4
Perform code study and list:

1. Occupancy/occupancies

2. Special conditions/requirements (if any)

3. Type of construction

4. Area and height calculations

5. Occupancy separations (if required)

6. Required building component fire rating
List referenced code section(s) for each item.

Client owns an existing single story 100,000 SF warehouse, type IV construction and fully sprinklered, with public way and 30’ frontage available on two sides and wants to convert it into an office building with 5,000 SF cafeteria and 5,000 SF all-hands assembly space open to the office area.  Is this possible, or would separations be necessary and what kind?
