IN CLASS EXERCISE – PROBLEM 5
Perform code study and list:

1. Occupancy/occupancies

2. Special conditions/requirements (if any)

3. Type of construction

4. Area and height calculations

5. Occupancy separations (if required)

6. Required building component fire rating
List referenced code section(s) for each item.

Client wants to build a new hotel building maximizing the height while using fully sprinklered type IIA construction, with public way and 30’ frontage on three sides.  In addition, he wants the ground level to have a restaurant, shopping area and large lobby (of equal or approximately equal sizes).  What are his options?
